# ANNEX IV: Budget breakdown (Model financial offer) / PRILOGA IV: Razrez proračuna (vzorec finančne ponudbe)

- Page No 1 of 2 / Stran št. 1 od 2

- PUBLICATION REFERENCE / REFERENCA OBJAVE: 430-8/2012

- NAME OF TENDERER / IME PONUDNIKA: [……………………………]

- 1. Supply of LED lamps / Dobava LED svetilk

| A |  | B |  | C |  | D |  | E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number / zaporedna številka |  | Quantity / količina |  | specifications offered (incl brand/model) / ponujene specifikacije (vključno z znamko/modelom) |  | unit costs with delivery ddp / stroški na enoto z dostavo ddp loče euros / evri |  | total / skupaj euros / evri |
| 1. LED lamps with 8 W - 48 W of total power; modularity – option to replace LED modules without replacing whole housing of the lamp; colour temperature in range from 4000 K to 4200 K and with minimum lifetime of 60 000 working hours; max. weigh 5 kg, with sensors for recording characteristic data, with two-way wireless communication and with reducing power ability; Flexibility: option to modify optics for usage of one lamp for illumination of different areas; automatics and control at one palce (Control Centre) – sensor - with sensors for recording characteristic data, with two-way wireless communication and with reducing power ability. The total number of lamps is 152. / LED svetilke z nazivno močjo 8 W - 48 W; modularnost – možnost menjave LED modulov brez menjave celotnega ohišja svetilke; barvo svetlobe v razponu od 4000 K do 4200 K in življenjsko dobo min. 60 000 ur; teža svetilke do 5 kg; s senzorji za merjenje karakterističnih podatkov, z brezžično dvostransko komunikacijo in možnostjo regulacije moči. Prilagodljivost: možnost prilagajanja optike za uporabo ene svetilke za osvetljevanje različnih površin; Avtomatika in krmiljenje iz ene točke (center nadzora) – senzorji za merjenje karakterističnih podatkov, z brezžično dvostransko komunikacijo in možnostjo regulacije moči; skupno število svetilk je 152 kosov. | 152 kos |  |  |  |  |  |  |  |
|  |  |  |  |  | Total / Skupaj |  |  |  |

2. Installation of LED lamps with wireless communication system / Montaža LED svetilk z brezžičnim sistemom komunikacije

| A |  | B |  | C |  | D |  | E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number / zaporedna številka |  | Quantity / količina |  | specifications offered (incl brand/model) / ponujene specifikacije (vključno z znamko/modelom) |  | unit costs with delivery ddp / stroški na enoto z dostavo ddp loče euros / evri |  | total / skupaj euros / evri |
| Removal of existing lamps from the poles height up to 8 m with towing away on contractor’s permanent disposal site (evidence: record)/ Demontaža obstoječih svetilk javne razsvetljave iz drogov do višine 8 m z odvozom na trajno deponijo izvajalca del (dokazilo: evidenčni list). | 152 kos |  |  |  |  |  |  |  |
| Installation of new LED lamps lamps on the poles height up to 8 m with coupling/ Montaža novih svetilk javne razsvetljave na drogove do 8 metrov s spajanjem. | 152 kos |  |  |  |  |  |  |  |
| Wiring the lamps ( PPY cable 4 x 1,5 mm2) in thepoles and removal of existing cables, poles height up to 8 m/ Ožičenje svetilk javne razsvetljave (kabel PPY 4x1,5 mm2) v kandelabrih in odstranitev obstoječih žic, do višine 8 m, 106 kos. | 152 kos |  |  |  |  |  |  |  |
| Delivery and instalation of consoles’ hangers with anti-corrosive protection for instalation of the lamps/ Dobava in montaža konzolnih nosilcev s protikorozivno zaščito za namestitev svetilk javne razsvetljave. | 13 kos |  |  |  |  |  |  |  |
| Fine material for every light position (screws, nuts, insulating tape, etc.)/ Drobni materijal za posamezno stojno mesto javne razsvetljave (vijaki, matice, izolirni trak, ipd...). | 152 kos |  |  |  |  |  |  |  |
| Measurement of the network after instalation of new lightening and measurement of brightness and illumination at 1 reference place in each individual network branch/ Izvedba meritev na omrežju po inštalaciji svetilk javne razsvetljave in meritve svetlosti in osvetljenosti na 1 referenčnem mestu posamezne veje javne razsvetljave. | 152 kos |  |  |  |  |  |  |  |
| Installation of the equipment in the center of the control (automatics and control, testing and introduction of the authorized person in the work)/ Namestitev opreme v center nadzora (avtomatike in krmiljenja, preizkušanje in uvedba pooblaščene osebe v delo). | 30 ur |  |  |  |  |  |  |  |
|  |  |  |  |  | Total / Skupaj |  |  |  |

Total Supply  and Installation of LED with wireless communication system / Skupaj dobava in montaža LED svetilk z brezžičnim sistemom komunikacije

| Item number / zaporedna številka |  |  |  |  |  |  |  | total / skupaj euros / evri |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Supply of LED lamps / 1. Dobava LED svetilk |  |  |  |  |  |  |  |  |
| 2. Installation of LED lamps with wireless communication system / 2. Montaža LED svetilk z brezžičnim sistemom komunikacije |  |  |  |  |  |  |  |  |
| TOTAL / SKUPAJ |  |  |  |  |  |  |  |  |

DDP (Delivered Duty Paid) / (Dobavljeno, Dajatve, Plačano) - Incoterms 2010 International Chamber of Commerce - http://www.iccwbo.org/incoterms/

DDP (Delivered Duty Paid) / (Dobavljeno, Dajatve, Plačano) - Incoterms 2010 International Chamber of Commerce - http://www.iccwbo.org/incoterms/